TT-42DX

Portable Dental X-ray Machine

- Solid state inside, No Oil, More stable, More Safety

- Real High Frequency:70KV,2mA; Photo Quality more clear

- High voltage lnverter take Frequency conversion technology, Lower radiation,More stable,More Safety

- Touch Colour LCD Screen, Detachable battery, More convenient for operation

- Main Unit 2 years warranty, Excellent stable and durable performance

|  | Dental x-ray | Type | Wireless |
| --- | --- | --- | --- |
| Tube voltage | 70KV | Tube current | 2 mA |
| Exposure time | 0.1~2s | Frequency | 50KHz |
| Tube focus | 0.4mmx0.5mm | The distance from skin to cone | 160mm |
| Battery | DC22V6000mAh | Rated power | 60VA |
| Charger input voltage | AC100v-240v土10% | Output Voltage | DC25.2V |
| Ambient temperature | 5-40°C | Relative humidity | <75%RH |
| Radiation | <0.235mGy/h |  |  |
| Net weight | 2.5 kg | Gross weight | 3.8kg |
| Size | 270x250x18(mm) | Package size | 29*27*23 |

TT-42DX adpot Microfocus X-ray radioscopy, it has the feature of small volume,light weight, basic don't need maintenance,low dose clear imaging and easy to carry,etc.